## Title Page
DETERMINING AND VALIDATING GERMLINE VARIANT CONFIRMATION CRITERIA
A Companion White Paper to Recommendations for Next-Generation Sequencing Germline Variant Confirmation: A Joint Report of the Association for Molecular Pathology and National Society of Genetic Counselors (Crooks et. al., 2023)
https://doi.org/10.1016/j.jmoldx.2023.03.012
By Members of the AMP Germline Variant Confirmation Workgroup
Stephen E. Lincoln, Kelly D. Farwell Hagman, Diana Mandelker, Avni Santani,
Ryan J. Schmidt, Robyn L. Temple-Smolkin, Kristy R. Crooks
Published online at https://www.amp.org/resources/validation-resources/ on 5/18/2023
This file contains Tables 2 - 5 of the white paper referenced above.
Standard of practice is not defined by this article, and there may be alternatives. See Disclaimer for further details.
DISCLAIMER
The Association for Molecular Pathology (AMP) Clinical Practice Guidelines and Reports are developed to be of assistance to laboratory and other health care professionals by providing guidance and recommendations for particular areas of practice. The Guidelines or Report should not be considered inclusive of all proper approaches or methods, or exclusive of others. The Guidelines or Report cannot guarantee any specific outcome, nor do they establish a standard of care. The Guidelines or Report are not intended to dictate the treatment of a particular patient. Treatment decisions must be made based on the independent judgment of health care providers and each patient’s individual circumstances. The AMP makes no warranty, express or implied, regarding the Guidelines or Report and specifically excludes any warranties of merchantability and fitness for a particular use or purpose. The AMP shall not be liable for direct, indirect, special, incidental, or consequential damages related to the use of the information contained herein.
Copyright © 2023. The Association for Molecular Pathology. All rights reserved.

## WP Table 2
Calculator for recommended validation study results
Variant calls that... | NGS TP |  |  | NGS FP | Note:
Meet or exceed the proposed technical criteria (“unflagged” variants) These calls would potentially not require confirmation | A | 867 | B | 0 | Fill in cells with your own values
Fail one or more technical criteria (“flagged” variants) These calls would require confirmation if reported | C | 42 | D | 21
Metric | Observed Rate |  | CI Lower Bound |  | Results calculated from values above. CI is computed using the Tolerance Interval method
aPPV, the analytic PPV of unflagged variant calls | 100% |  | 99.66% |  | For formula see Jennings et al, J. Mol. Diag. 2017 (PMID 28341590), equation 4
FPsens, the Sensitivity of the proposed criteria to flag FPs | 100% |  | 86.71% |  | CI is only calculated by this spreadsheet for cases where the observed rate is 100% (i.e., cell B = 0)
Copyright © 2023. The Association for Molecular Pathology. All rights reserved.

## WP Table 3
Confidence Interval Lower Bounds Calculated Using the Tolerance Interval Method
Total Unflagged Variants | Fraction That are TPs (Observed aPPV) | aPPV CI Lower Bound* | *This calculation requires an observed aPPV of 100% (column B)
20 | 100% | 86.09%
40 | 100% | 92.78%
60 | 100% | 95.13%
80 | 100% | 96.32%
100 | 100% | 97.05%
120 | 100% | 97.53%
140 | 100% | 97.88%
160 | 100% | 98.15%
180 | 100% | 98.35%
200 | 100% | 98.51%
220 | 100% | 98.65%
240 | 100% | 98.76%
260 | 100% | 98.85%
280 | 100% | 98.94%
300 | 100% | 99.01%
320 | 100% | 99.07%
340 | 100% | 99.12%
360 | 100% | 99.17%
380 | 100% | 99.21%
400 | 100% | 99.25%
420 | 100% | 99.29%
440 | 100% | 99.32%
460 | 100% | 99.35%
480 | 100% | 99.38% | Copyright © 2023. The Association for Molecular Pathology. All rights reserved.
500 | 100% | 99.4%
520 | 100% | 99.43%
540 | 100% | 99.45%
560 | 100% | 99.47%
580 | 100% | 99.48%
600 | 100% | 99.5%
620 | 100% | 99.52%
640 | 100% | 99.53%
660 | 100% | 99.55%
680 | 100% | 99.56%
700 | 100% | 99.57%
720 | 100% | 99.58%
740 | 100% | 99.6%
760 | 100% | 99.61%
780 | 100% | 99.62%
800 | 100% | 99.63%
820 | 100% | 99.64%
840 | 100% | 99.64%
860 | 100% | 99.65%
880 | 100% | 99.66%
900 | 100% | 99.67%
920 | 100% | 99.67%
940 | 100% | 99.68%
960 | 100% | 99.69%
980 | 100% | 99.69%
1000 | 100% | 99.7%
1020 | 100% | 99.71%
1040 | 100% | 99.71%
1060 | 100% | 99.72%
1080 | 100% | 99.72%
1100 | 100% | 99.73%
1120 | 100% | 99.73%
1140 | 100% | 99.74%
1160 | 100% | 99.74%
1180 | 100% | 99.75%
1200 | 100% | 99.75%
1220 | 100% | 99.75%
1240 | 100% | 99.76%
1260 | 100% | 99.76%
1280 | 100% | 99.77%
1300 | 100% | 99.77%
1320 | 100% | 99.77%
1340 | 100% | 99.78%
1360 | 100% | 99.78%
1380 | 100% | 99.78%
1400 | 100% | 99.79%
1420 | 100% | 99.79%
1440 | 100% | 99.79%
1460 | 100% | 99.8%
1480 | 100% | 99.8%
1500 | 100% | 99.8%
1520 | 100% | 99.8%
1540 | 100% | 99.81%
1560 | 100% | 99.81%
1580 | 100% | 99.81%
1600 | 100% | 99.81%
1620 | 100% | 99.82%
1640 | 100% | 99.82%
1660 | 100% | 99.82%
1680 | 100% | 99.82%
1700 | 100% | 99.82%
1720 | 100% | 99.83%
1740 | 100% | 99.83%
1760 | 100% | 99.83%
1780 | 100% | 99.83%
1800 | 100% | 99.83%
1820 | 100% | 99.84%
1840 | 100% | 99.84%
1860 | 100% | 99.84%
1880 | 100% | 99.84%
1900 | 100% | 99.84%
1920 | 100% | 99.84%
1940 | 100% | 99.85%
1960 | 100% | 99.85%
1980 | 100% | 99.85%
2000 | 100% | 99.85%
2020 | 100% | 99.85%
2040 | 100% | 99.85%
2060 | 100% | 99.85%
2080 | 100% | 99.86%
2100 | 100% | 99.86%
2120 | 100% | 99.86%
2140 | 100% | 99.86%
2160 | 100% | 99.86%
2180 | 100% | 99.86%
2200 | 100% | 99.86%
2220 | 100% | 99.87%
2240 | 100% | 99.87%
2260 | 100% | 99.87%
2280 | 100% | 99.87%
2300 | 100% | 99.87%
2320 | 100% | 99.87%
2340 | 100% | 99.87%
2360 | 100% | 99.87%
2380 | 100% | 99.87%
2400 | 100% | 99.88%
2420 | 100% | 99.88%
2440 | 100% | 99.88%
2460 | 100% | 99.88%
2480 | 100% | 99.88%
2500 | 100% | 99.88%
2520 | 100% | 99.88%
2540 | 100% | 99.88%
2560 | 100% | 99.88%
2580 | 100% | 99.88%
2600 | 100% | 99.88%
2620 | 100% | 99.89%
2640 | 100% | 99.89%
2660 | 100% | 99.89%
2680 | 100% | 99.89%
2700 | 100% | 99.89%
2720 | 100% | 99.89%
2740 | 100% | 99.89%
2760 | 100% | 99.89%
2780 | 100% | 99.89%
2800 | 100% | 99.89%
2820 | 100% | 99.89%
2840 | 100% | 99.89%
2860 | 100% | 99.9%
2880 | 100% | 99.9%
2900 | 100% | 99.9%
2920 | 100% | 99.9%
2940 | 100% | 99.9%
2960 | 100% | 99.9%
2980 | 100% | 99.9%
3000 | 100% | 99.9%
3020 | 100% | 99.9%
3040 | 100% | 99.9%
3060 | 100% | 99.9%
3080 | 100% | 99.9%
3100 | 100% | 99.9%
3120 | 100% | 99.9%
3140 | 100% | 99.9%
3160 | 100% | 99.91%
3180 | 100% | 99.91%
3200 | 100% | 99.91%
3220 | 100% | 99.91%
3240 | 100% | 99.91%
3260 | 100% | 99.91%
3280 | 100% | 99.91%
3300 | 100% | 99.91%
3320 | 100% | 99.91%
3340 | 100% | 99.91%
3360 | 100% | 99.91%
3380 | 100% | 99.91%
3400 | 100% | 99.91%
3420 | 100% | 99.91%
3440 | 100% | 99.91%
3460 | 100% | 99.91%
3480 | 100% | 99.91%
3500 | 100% | 99.91%
3520 | 100% | 99.91%
3540 | 100% | 99.92%
3560 | 100% | 99.92%
3580 | 100% | 99.92%
3600 | 100% | 99.92%
3620 | 100% | 99.92%
3640 | 100% | 99.92%
3660 | 100% | 99.92%
3680 | 100% | 99.92%
3700 | 100% | 99.92%
3720 | 100% | 99.92%
3740 | 100% | 99.92%
3760 | 100% | 99.92%
3780 | 100% | 99.92%
3800 | 100% | 99.92%
3820 | 100% | 99.92%
3840 | 100% | 99.92%
3860 | 100% | 99.92%
3880 | 100% | 99.92%
3900 | 100% | 99.92%
3920 | 100% | 99.92%
3940 | 100% | 99.92%
3960 | 100% | 99.92%
3980 | 100% | 99.92%
4000 | 100% | 99.93%
4020 | 100% | 99.93%
4040 | 100% | 99.93%
4060 | 100% | 99.93%
4080 | 100% | 99.93%
4100 | 100% | 99.93%
4120 | 100% | 99.93%
4140 | 100% | 99.93%
4160 | 100% | 99.93%
4180 | 100% | 99.93%
4200 | 100% | 99.93%
4220 | 100% | 99.93%
4240 | 100% | 99.93%
4260 | 100% | 99.93%
4280 | 100% | 99.93%
4300 | 100% | 99.93%
4320 | 100% | 99.93%
4340 | 100% | 99.93%
4360 | 100% | 99.93%
4380 | 100% | 99.93%
4400 | 100% | 99.93%
4420 | 100% | 99.93%
4440 | 100% | 99.93%
4460 | 100% | 99.93%
4480 | 100% | 99.93%
4500 | 100% | 99.93%
4520 | 100% | 99.93%
4540 | 100% | 99.93%
4560 | 100% | 99.93%
4580 | 100% | 99.93%
4600 | 100% | 99.93%
4620 | 100% | 99.94%
4640 | 100% | 99.94%
4660 | 100% | 99.94%
4680 | 100% | 99.94%
4700 | 100% | 99.94%
4720 | 100% | 99.94%
4740 | 100% | 99.94%
4760 | 100% | 99.94%
4780 | 100% | 99.94%
4800 | 100% | 99.94%
4820 | 100% | 99.94%
4840 | 100% | 99.94%
4860 | 100% | 99.94%
4880 | 100% | 99.94%
4900 | 100% | 99.94%
4920 | 100% | 99.94%
4940 | 100% | 99.94%
4960 | 100% | 99.94%
4980 | 100% | 99.94%
5000 | 100% | 99.94%
5020 | 100% | 99.94%
5040 | 100% | 99.94%
5060 | 100% | 99.94%
5080 | 100% | 99.94%
5100 | 100% | 99.94%
5120 | 100% | 99.94%
5140 | 100% | 99.94%
5160 | 100% | 99.94%
5180 | 100% | 99.94%
5200 | 100% | 99.94%
5220 | 100% | 99.94%
5240 | 100% | 99.94%
5260 | 100% | 99.94%
5280 | 100% | 99.94%
5300 | 100% | 99.94%
5320 | 100% | 99.94%
5340 | 100% | 99.94%
5360 | 100% | 99.94%
5380 | 100% | 99.94%
5400 | 100% | 99.94%
5420 | 100% | 99.94%
5440 | 100% | 99.94%
5460 | 100% | 99.95%
5480 | 100% | 99.95%
5500 | 100% | 99.95%
5520 | 100% | 99.95%
5540 | 100% | 99.95%
5560 | 100% | 99.95%
5580 | 100% | 99.95%
5600 | 100% | 99.95%
5620 | 100% | 99.95%
5640 | 100% | 99.95%
5660 | 100% | 99.95%
5680 | 100% | 99.95%
5700 | 100% | 99.95%
5720 | 100% | 99.95%
5740 | 100% | 99.95%
5760 | 100% | 99.95%
5780 | 100% | 99.95%
5800 | 100% | 99.95%
5820 | 100% | 99.95%
5840 | 100% | 99.95%
5860 | 100% | 99.95%
5880 | 100% | 99.95%
5900 | 100% | 99.95%
5920 | 100% | 99.95%
5940 | 100% | 99.95%
5960 | 100% | 99.95%
5980 | 100% | 99.95%
6000 | 100% | 99.95%
6020 | 100% | 99.95%
6040 | 100% | 99.95%
6060 | 100% | 99.95%
6080 | 100% | 99.95%
6100 | 100% | 99.95%
6120 | 100% | 99.95%
6140 | 100% | 99.95%
6160 | 100% | 99.95%
6180 | 100% | 99.95%
6200 | 100% | 99.95%
6220 | 100% | 99.95%
6240 | 100% | 99.95%
6260 | 100% | 99.95%
6280 | 100% | 99.95%
6300 | 100% | 99.95%
6320 | 100% | 99.95%
6340 | 100% | 99.95%
6360 | 100% | 99.95%
6380 | 100% | 99.95%
6400 | 100% | 99.95%
6420 | 100% | 99.95%
6440 | 100% | 99.95%
6460 | 100% | 99.95%
6480 | 100% | 99.95%
6500 | 100% | 99.95%
6520 | 100% | 99.95%
6540 | 100% | 99.95%
6560 | 100% | 99.95%
6580 | 100% | 99.95%
6600 | 100% | 99.95%
6620 | 100% | 99.95%
6640 | 100% | 99.95%
6660 | 100% | 99.96%
6680 | 100% | 99.96%
6700 | 100% | 99.96%
6720 | 100% | 99.96%
6740 | 100% | 99.96%
6760 | 100% | 99.96%
6780 | 100% | 99.96%
6800 | 100% | 99.96%
6820 | 100% | 99.96%
6840 | 100% | 99.96%
6860 | 100% | 99.96%
6880 | 100% | 99.96%
6900 | 100% | 99.96%
6920 | 100% | 99.96%
6940 | 100% | 99.96%
6960 | 100% | 99.96%
6980 | 100% | 99.96%
7000 | 100% | 99.96%
7020 | 100% | 99.96%
7040 | 100% | 99.96%
7060 | 100% | 99.96%
7080 | 100% | 99.96%
7100 | 100% | 99.96%
7120 | 100% | 99.96%
7140 | 100% | 99.96%
7160 | 100% | 99.96%
7180 | 100% | 99.96%
7200 | 100% | 99.96%
7220 | 100% | 99.96%
7240 | 100% | 99.96%
7260 | 100% | 99.96%
7280 | 100% | 99.96%
7300 | 100% | 99.96%
7320 | 100% | 99.96%
7340 | 100% | 99.96%
7360 | 100% | 99.96%
7380 | 100% | 99.96%
7400 | 100% | 99.96%
7420 | 100% | 99.96%
7440 | 100% | 99.96%
7460 | 100% | 99.96%
7480 | 100% | 99.96%
7500 | 100% | 99.96%
7520 | 100% | 99.96%
7540 | 100% | 99.96%
7560 | 100% | 99.96%
7580 | 100% | 99.96%
7600 | 100% | 99.96%
7620 | 100% | 99.96%
7640 | 100% | 99.96%
7660 | 100% | 99.96%
7680 | 100% | 99.96%
7700 | 100% | 99.96%
7720 | 100% | 99.96%
7740 | 100% | 99.96%
7760 | 100% | 99.96%
7780 | 100% | 99.96%
7800 | 100% | 99.96%
7820 | 100% | 99.96%
7840 | 100% | 99.96%
7860 | 100% | 99.96%
7880 | 100% | 99.96%
7900 | 100% | 99.96%
7920 | 100% | 99.96%
7940 | 100% | 99.96%
7960 | 100% | 99.96%
7980 | 100% | 99.96%
8000 | 100% | 99.96%
8020 | 100% | 99.96%
8040 | 100% | 99.96%
8060 | 100% | 99.96%
8080 | 100% | 99.96%
8100 | 100% | 99.96%
8120 | 100% | 99.96%
8140 | 100% | 99.96%
8160 | 100% | 99.96%
8180 | 100% | 99.96%
8200 | 100% | 99.96%
8220 | 100% | 99.96%
8240 | 100% | 99.96%
8260 | 100% | 99.96%
8280 | 100% | 99.96%
8300 | 100% | 99.96%
8320 | 100% | 99.96%
8340 | 100% | 99.96%
8360 | 100% | 99.96%
8380 | 100% | 99.96%
8400 | 100% | 99.96%
8420 | 100% | 99.96%
8440 | 100% | 99.96%
8460 | 100% | 99.96%
8480 | 100% | 99.96%
8500 | 100% | 99.96%
8520 | 100% | 99.96%
8540 | 100% | 99.96%
8560 | 100% | 99.97%
8580 | 100% | 99.97%
8600 | 100% | 99.97%
8620 | 100% | 99.97%
8640 | 100% | 99.97%
8660 | 100% | 99.97%
8680 | 100% | 99.97%
8700 | 100% | 99.97%
8720 | 100% | 99.97%
8740 | 100% | 99.97%
8760 | 100% | 99.97%
8780 | 100% | 99.97%
8800 | 100% | 99.97%
8820 | 100% | 99.97%
8840 | 100% | 99.97%
8860 | 100% | 99.97%
8880 | 100% | 99.97%
8900 | 100% | 99.97%
8920 | 100% | 99.97%
8940 | 100% | 99.97%
8960 | 100% | 99.97%
8980 | 100% | 99.97%
9000 | 100% | 99.97%
9020 | 100% | 99.97%
9040 | 100% | 99.97%
9060 | 100% | 99.97%
9080 | 100% | 99.97%
9100 | 100% | 99.97%
9120 | 100% | 99.97%
9140 | 100% | 99.97%
9160 | 100% | 99.97%
9180 | 100% | 99.97%
9200 | 100% | 99.97%
9220 | 100% | 99.97%
9240 | 100% | 99.97%
9260 | 100% | 99.97%
9280 | 100% | 99.97%
9300 | 100% | 99.97%
9320 | 100% | 99.97%
9340 | 100% | 99.97%
9360 | 100% | 99.97%
9380 | 100% | 99.97%
9400 | 100% | 99.97%
9420 | 100% | 99.97%
9440 | 100% | 99.97%
9460 | 100% | 99.97%
9480 | 100% | 99.97%
9500 | 100% | 99.97%
9520 | 100% | 99.97%
9540 | 100% | 99.97%
9560 | 100% | 99.97%
9580 | 100% | 99.97%
9600 | 100% | 99.97%
9620 | 100% | 99.97%
9640 | 100% | 99.97%
9660 | 100% | 99.97%
9680 | 100% | 99.97%
9700 | 100% | 99.97%
9720 | 100% | 99.97%
9740 | 100% | 99.97%
9760 | 100% | 99.97%
9780 | 100% | 99.97%
9800 | 100% | 99.97%
9820 | 100% | 99.97%
9840 | 100% | 99.97%
9860 | 100% | 99.97%
9880 | 100% | 99.97%
9900 | 100% | 99.97%
9920 | 100% | 99.97%
9940 | 100% | 99.97%
9960 | 100% | 99.97%
9980 | 100% | 99.97%
10000 | 100% | 99.97%
10020 | 100% | 99.97%
10040 | 100% | 99.97%
10060 | 100% | 99.97%
10080 | 100% | 99.97%
10100 | 100% | 99.97%
10120 | 100% | 99.97%
10140 | 100% | 99.97%
10160 | 100% | 99.97%
10180 | 100% | 99.97%
10200 | 100% | 99.97%
10220 | 100% | 99.97%
10240 | 100% | 99.97%
10260 | 100% | 99.97%
10280 | 100% | 99.97%
10300 | 100% | 99.97%
10320 | 100% | 99.97%
10340 | 100% | 99.97%
10360 | 100% | 99.97%
10380 | 100% | 99.97%
10400 | 100% | 99.97%
10420 | 100% | 99.97%
10440 | 100% | 99.97%
10460 | 100% | 99.97%
10480 | 100% | 99.97%
10500 | 100% | 99.97%
10520 | 100% | 99.97%
10540 | 100% | 99.97%
10560 | 100% | 99.97%
10580 | 100% | 99.97%
10600 | 100% | 99.97%
10620 | 100% | 99.97%
10640 | 100% | 99.97%
10660 | 100% | 99.97%
10680 | 100% | 99.97%
10700 | 100% | 99.97%
10720 | 100% | 99.97%
10740 | 100% | 99.97%
10760 | 100% | 99.97%
10780 | 100% | 99.97%
10800 | 100% | 99.97%
10820 | 100% | 99.97%
10840 | 100% | 99.97%
10860 | 100% | 99.97%
10880 | 100% | 99.97%
10900 | 100% | 99.97%
10920 | 100% | 99.97%
10940 | 100% | 99.97%
10960 | 100% | 99.97%
10980 | 100% | 99.97%
11000 | 100% | 99.97%
11020 | 100% | 99.97%
11040 | 100% | 99.97%
11060 | 100% | 99.97%
11080 | 100% | 99.97%
11100 | 100% | 99.97%
11120 | 100% | 99.97%
11140 | 100% | 99.97%
11160 | 100% | 99.97%
11180 | 100% | 99.97%
11200 | 100% | 99.97%
11220 | 100% | 99.97%
11240 | 100% | 99.97%
11260 | 100% | 99.97%
11280 | 100% | 99.97%
11300 | 100% | 99.97%
11320 | 100% | 99.97%
11340 | 100% | 99.97%
11360 | 100% | 99.97%
11380 | 100% | 99.97%
11400 | 100% | 99.97%
11420 | 100% | 99.97%
11440 | 100% | 99.97%
11460 | 100% | 99.97%
11480 | 100% | 99.97%
11500 | 100% | 99.97%
11520 | 100% | 99.97%
11540 | 100% | 99.97%
11560 | 100% | 99.97%
11580 | 100% | 99.97%
11600 | 100% | 99.97%
11620 | 100% | 99.97%
11640 | 100% | 99.97%
11660 | 100% | 99.97%
11680 | 100% | 99.97%
11700 | 100% | 99.97%
11720 | 100% | 99.97%
11740 | 100% | 99.97%
11760 | 100% | 99.97%
11780 | 100% | 99.97%
11800 | 100% | 99.97%
11820 | 100% | 99.97%
11840 | 100% | 99.97%
11860 | 100% | 99.97%
11880 | 100% | 99.97%
11900 | 100% | 99.97%
11920 | 100% | 99.97%
11940 | 100% | 99.97%
11960 | 100% | 99.97%
11980 | 100% | 99.97%
12000 | 100% | 99.98%
12020 | 100% | 99.98%
12040 | 100% | 99.98%
12060 | 100% | 99.98%
12080 | 100% | 99.98%
12100 | 100% | 99.98%
12120 | 100% | 99.98%
12140 | 100% | 99.98%
12160 | 100% | 99.98%
12180 | 100% | 99.98%
12200 | 100% | 99.98%
12220 | 100% | 99.98%
12240 | 100% | 99.98%
12260 | 100% | 99.98%
12280 | 100% | 99.98%
12300 | 100% | 99.98%
12320 | 100% | 99.98%
12340 | 100% | 99.98%
12360 | 100% | 99.98%
12380 | 100% | 99.98%
12400 | 100% | 99.98%
12420 | 100% | 99.98%
12440 | 100% | 99.98%
12460 | 100% | 99.98%
12480 | 100% | 99.98%
12500 | 100% | 99.98%
12520 | 100% | 99.98%
12540 | 100% | 99.98%
12560 | 100% | 99.98%
12580 | 100% | 99.98%
12600 | 100% | 99.98%
12620 | 100% | 99.98%
12640 | 100% | 99.98%
12660 | 100% | 99.98%
12680 | 100% | 99.98%
12700 | 100% | 99.98%
12720 | 100% | 99.98%
12740 | 100% | 99.98%
12760 | 100% | 99.98%
12780 | 100% | 99.98%
12800 | 100% | 99.98%
12820 | 100% | 99.98%
12840 | 100% | 99.98%
12860 | 100% | 99.98%
12880 | 100% | 99.98%
12900 | 100% | 99.98%
12920 | 100% | 99.98%
12940 | 100% | 99.98%
12960 | 100% | 99.98%
12980 | 100% | 99.98%
13000 | 100% | 99.98%
13020 | 100% | 99.98%
13040 | 100% | 99.98%
13060 | 100% | 99.98%
13080 | 100% | 99.98%
13100 | 100% | 99.98%
13120 | 100% | 99.98%
13140 | 100% | 99.98%
13160 | 100% | 99.98%
13180 | 100% | 99.98%
13200 | 100% | 99.98%
13220 | 100% | 99.98%
13240 | 100% | 99.98%
13260 | 100% | 99.98%
13280 | 100% | 99.98%
13300 | 100% | 99.98%
13320 | 100% | 99.98%
13340 | 100% | 99.98%
13360 | 100% | 99.98%
13380 | 100% | 99.98%
13400 | 100% | 99.98%
13420 | 100% | 99.98%
13440 | 100% | 99.98%
13460 | 100% | 99.98%
13480 | 100% | 99.98%
13500 | 100% | 99.98%
13520 | 100% | 99.98%
13540 | 100% | 99.98%
13560 | 100% | 99.98%
13580 | 100% | 99.98%
13600 | 100% | 99.98%
13620 | 100% | 99.98%
13640 | 100% | 99.98%
13660 | 100% | 99.98%
13680 | 100% | 99.98%
13700 | 100% | 99.98%
13720 | 100% | 99.98%
13740 | 100% | 99.98%
13760 | 100% | 99.98%
13780 | 100% | 99.98%
13800 | 100% | 99.98%
13820 | 100% | 99.98%
13840 | 100% | 99.98%
13860 | 100% | 99.98%
13880 | 100% | 99.98%
13900 | 100% | 99.98%
13920 | 100% | 99.98%
13940 | 100% | 99.98%
13960 | 100% | 99.98%
13980 | 100% | 99.98%
14000 | 100% | 99.98%
14020 | 100% | 99.98%
14040 | 100% | 99.98%
14060 | 100% | 99.98%
14080 | 100% | 99.98%
14100 | 100% | 99.98%
14120 | 100% | 99.98%
14140 | 100% | 99.98%
14160 | 100% | 99.98%
14180 | 100% | 99.98%
14200 | 100% | 99.98%
14220 | 100% | 99.98%
14240 | 100% | 99.98%
14260 | 100% | 99.98%
14280 | 100% | 99.98%
14300 | 100% | 99.98%
14320 | 100% | 99.98%
14340 | 100% | 99.98%
14360 | 100% | 99.98%
14380 | 100% | 99.98%
14400 | 100% | 99.98%
14420 | 100% | 99.98%
14440 | 100% | 99.98%
14460 | 100% | 99.98%
14480 | 100% | 99.98%
14500 | 100% | 99.98%
14520 | 100% | 99.98%
14540 | 100% | 99.98%
14560 | 100% | 99.98%
14580 | 100% | 99.98%
14600 | 100% | 99.98%
14620 | 100% | 99.98%
14640 | 100% | 99.98%
14660 | 100% | 99.98%
14680 | 100% | 99.98%
14700 | 100% | 99.98%
14720 | 100% | 99.98%
14740 | 100% | 99.98%
14760 | 100% | 99.98%
14780 | 100% | 99.98%
14800 | 100% | 99.98%
14820 | 100% | 99.98%
14840 | 100% | 99.98%
14860 | 100% | 99.98%
14880 | 100% | 99.98%
14900 | 100% | 99.98%
14920 | 100% | 99.98%
14940 | 100% | 99.98%
14960 | 100% | 99.98%
14980 | 100% | 99.98%
15000 | 100% | 99.98%
15020 | 100% | 99.98%
15040 | 100% | 99.98%
15060 | 100% | 99.98%
15080 | 100% | 99.98%
15100 | 100% | 99.98%
15120 | 100% | 99.98%
15140 | 100% | 99.98%
15160 | 100% | 99.98%
15180 | 100% | 99.98%
15200 | 100% | 99.98%
15220 | 100% | 99.98%
15240 | 100% | 99.98%
15260 | 100% | 99.98%
15280 | 100% | 99.98%
15300 | 100% | 99.98%
15320 | 100% | 99.98%
15340 | 100% | 99.98%
15360 | 100% | 99.98%
15380 | 100% | 99.98%
15400 | 100% | 99.98%
15420 | 100% | 99.98%
15440 | 100% | 99.98%
15460 | 100% | 99.98%
15480 | 100% | 99.98%
15500 | 100% | 99.98%
15520 | 100% | 99.98%
15540 | 100% | 99.98%
15560 | 100% | 99.98%
15580 | 100% | 99.98%
15600 | 100% | 99.98%
15620 | 100% | 99.98%
15640 | 100% | 99.98%
15660 | 100% | 99.98%
15680 | 100% | 99.98%
15700 | 100% | 99.98%
15720 | 100% | 99.98%
15740 | 100% | 99.98%
15760 | 100% | 99.98%
15780 | 100% | 99.98%
15800 | 100% | 99.98%
15820 | 100% | 99.98%
15840 | 100% | 99.98%
15860 | 100% | 99.98%
15880 | 100% | 99.98%
15900 | 100% | 99.98%
15920 | 100% | 99.98%
15940 | 100% | 99.98%
15960 | 100% | 99.98%
15980 | 100% | 99.98%
16000 | 100% | 99.98%
16020 | 100% | 99.98%
16040 | 100% | 99.98%
16060 | 100% | 99.98%
16080 | 100% | 99.98%
16100 | 100% | 99.98%
16120 | 100% | 99.98%
16140 | 100% | 99.98%
16160 | 100% | 99.98%
16180 | 100% | 99.98%
16200 | 100% | 99.98%
16220 | 100% | 99.98%
16240 | 100% | 99.98%
16260 | 100% | 99.98%
16280 | 100% | 99.98%
16300 | 100% | 99.98%
16320 | 100% | 99.98%
16340 | 100% | 99.98%
16360 | 100% | 99.98%
16380 | 100% | 99.98%
16400 | 100% | 99.98%
16420 | 100% | 99.98%
16440 | 100% | 99.98%
16460 | 100% | 99.98%
16480 | 100% | 99.98%
16500 | 100% | 99.98%
16520 | 100% | 99.98%
16540 | 100% | 99.98%
16560 | 100% | 99.98%
16580 | 100% | 99.98%
16600 | 100% | 99.98%
16620 | 100% | 99.98%
16640 | 100% | 99.98%
16660 | 100% | 99.98%
16680 | 100% | 99.98%
16700 | 100% | 99.98%
16720 | 100% | 99.98%
16740 | 100% | 99.98%
16760 | 100% | 99.98%
16780 | 100% | 99.98%
16800 | 100% | 99.98%
16820 | 100% | 99.98%
16840 | 100% | 99.98%
16860 | 100% | 99.98%
16880 | 100% | 99.98%
16900 | 100% | 99.98%
16920 | 100% | 99.98%
16940 | 100% | 99.98%
16960 | 100% | 99.98%
16980 | 100% | 99.98%
17000 | 100% | 99.98%
17020 | 100% | 99.98%
17040 | 100% | 99.98%
17060 | 100% | 99.98%
17080 | 100% | 99.98%
17100 | 100% | 99.98%
17120 | 100% | 99.98%
17140 | 100% | 99.98%
17160 | 100% | 99.98%
17180 | 100% | 99.98%
17200 | 100% | 99.98%
17220 | 100% | 99.98%
17240 | 100% | 99.98%
17260 | 100% | 99.98%
17280 | 100% | 99.98%
17300 | 100% | 99.98%
17320 | 100% | 99.98%
17340 | 100% | 99.98%
17360 | 100% | 99.98%
17380 | 100% | 99.98%
17400 | 100% | 99.98%
17420 | 100% | 99.98%
17440 | 100% | 99.98%
17460 | 100% | 99.98%
17480 | 100% | 99.98%
17500 | 100% | 99.98%
17520 | 100% | 99.98%
17540 | 100% | 99.98%
17560 | 100% | 99.98%
17580 | 100% | 99.98%
17600 | 100% | 99.98%
17620 | 100% | 99.98%
17640 | 100% | 99.98%
17660 | 100% | 99.98%
17680 | 100% | 99.98%
17700 | 100% | 99.98%
17720 | 100% | 99.98%
17740 | 100% | 99.98%
17760 | 100% | 99.98%
17780 | 100% | 99.98%
17800 | 100% | 99.98%
17820 | 100% | 99.98%
17840 | 100% | 99.98%
17860 | 100% | 99.98%
17880 | 100% | 99.98%
17900 | 100% | 99.98%
17920 | 100% | 99.98%
17940 | 100% | 99.98%
17960 | 100% | 99.98%
17980 | 100% | 99.98%
18000 | 100% | 99.98%
18020 | 100% | 99.98%
18040 | 100% | 99.98%
18060 | 100% | 99.98%
18080 | 100% | 99.98%
18100 | 100% | 99.98%
18120 | 100% | 99.98%
18140 | 100% | 99.98%
18160 | 100% | 99.98%
18180 | 100% | 99.98%
18200 | 100% | 99.98%
18220 | 100% | 99.98%
18240 | 100% | 99.98%
18260 | 100% | 99.98%
18280 | 100% | 99.98%
18300 | 100% | 99.98%
18320 | 100% | 99.98%
18340 | 100% | 99.98%
18360 | 100% | 99.98%
18380 | 100% | 99.98%
18400 | 100% | 99.98%
18420 | 100% | 99.98%
18440 | 100% | 99.98%
18460 | 100% | 99.98%
18480 | 100% | 99.98%
18500 | 100% | 99.98%
18520 | 100% | 99.98%
18540 | 100% | 99.98%
18560 | 100% | 99.98%
18580 | 100% | 99.98%
18600 | 100% | 99.98%
18620 | 100% | 99.98%
18640 | 100% | 99.98%
18660 | 100% | 99.98%
18680 | 100% | 99.98%
18700 | 100% | 99.98%
18720 | 100% | 99.98%
18740 | 100% | 99.98%
18760 | 100% | 99.98%
18780 | 100% | 99.98%
18800 | 100% | 99.98%
18820 | 100% | 99.98%
18840 | 100% | 99.98%
18860 | 100% | 99.98%
18880 | 100% | 99.98%
18900 | 100% | 99.98%
18920 | 100% | 99.98%
18940 | 100% | 99.98%
18960 | 100% | 99.98%
18980 | 100% | 99.98%
19000 | 100% | 99.98%
19020 | 100% | 99.98%
19040 | 100% | 99.98%
19060 | 100% | 99.98%
19080 | 100% | 99.98%
19100 | 100% | 99.98%
19120 | 100% | 99.98%
19140 | 100% | 99.98%
19160 | 100% | 99.98%
19180 | 100% | 99.98%
19200 | 100% | 99.98%
19220 | 100% | 99.98%
19240 | 100% | 99.98%
19260 | 100% | 99.98%
19280 | 100% | 99.98%
19300 | 100% | 99.98%
19320 | 100% | 99.98%
19340 | 100% | 99.98%
19360 | 100% | 99.98%
19380 | 100% | 99.98%
19400 | 100% | 99.98%
19420 | 100% | 99.98%
19440 | 100% | 99.98%
19460 | 100% | 99.98%
19480 | 100% | 99.98%
19500 | 100% | 99.98%
19520 | 100% | 99.98%
19540 | 100% | 99.98%
19560 | 100% | 99.98%
19580 | 100% | 99.98%
19600 | 100% | 99.98%
19620 | 100% | 99.98%
19640 | 100% | 99.98%
19660 | 100% | 99.98%
19680 | 100% | 99.98%
19700 | 100% | 99.98%
19720 | 100% | 99.98%
19740 | 100% | 99.98%
19760 | 100% | 99.98%
19780 | 100% | 99.98%
19800 | 100% | 99.98%
19820 | 100% | 99.98%
19840 | 100% | 99.98%
19860 | 100% | 99.98%
19880 | 100% | 99.98%
19900 | 100% | 99.98%
19920 | 100% | 99.98%
19940 | 100% | 99.98%
19960 | 100% | 99.98%
19980 | 100% | 99.99%
20000 | 100% | 99.99%
20020 | 100% | 99.99%
20040 | 100% | 99.99%
20060 | 100% | 99.99%
20080 | 100% | 99.99%
20100 | 100% | 99.99%
20120 | 100% | 99.99%
20140 | 100% | 99.99%
20160 | 100% | 99.99%
20180 | 100% | 99.99%
20200 | 100% | 99.99%
20220 | 100% | 99.99%
20240 | 100% | 99.99%
20260 | 100% | 99.99%
20280 | 100% | 99.99%
20300 | 100% | 99.99%
20320 | 100% | 99.99%
20340 | 100% | 99.99%
20360 | 100% | 99.99%
20380 | 100% | 99.99%
20400 | 100% | 99.99%
20420 | 100% | 99.99%
20440 | 100% | 99.99%
20460 | 100% | 99.99%
20480 | 100% | 99.99%
20500 | 100% | 99.99%
20520 | 100% | 99.99%
20540 | 100% | 99.99%
20560 | 100% | 99.99%
20580 | 100% | 99.99%
20600 | 100% | 99.99%
20620 | 100% | 99.99%
20640 | 100% | 99.99%
20660 | 100% | 99.99%
20680 | 100% | 99.99%
20700 | 100% | 99.99%
20720 | 100% | 99.99%
20740 | 100% | 99.99%
20760 | 100% | 99.99%
20780 | 100% | 99.99%
20800 | 100% | 99.99%
20820 | 100% | 99.99%
20840 | 100% | 99.99%
20860 | 100% | 99.99%
20880 | 100% | 99.99%
20900 | 100% | 99.99%
20920 | 100% | 99.99%
20940 | 100% | 99.99%
20960 | 100% | 99.99%
20980 | 100% | 99.99%
21000 | 100% | 99.99%
21020 | 100% | 99.99%
21040 | 100% | 99.99%
21060 | 100% | 99.99%
21080 | 100% | 99.99%
21100 | 100% | 99.99%
21120 | 100% | 99.99%
21140 | 100% | 99.99%
21160 | 100% | 99.99%
21180 | 100% | 99.99%
21200 | 100% | 99.99%
21220 | 100% | 99.99%
21240 | 100% | 99.99%
21260 | 100% | 99.99%
21280 | 100% | 99.99%
21300 | 100% | 99.99%
21320 | 100% | 99.99%
21340 | 100% | 99.99%
21360 | 100% | 99.99%
21380 | 100% | 99.99%
21400 | 100% | 99.99%
21420 | 100% | 99.99%
21440 | 100% | 99.99%
21460 | 100% | 99.99%
21480 | 100% | 99.99%
21500 | 100% | 99.99%
21520 | 100% | 99.99%
21540 | 100% | 99.99%
21560 | 100% | 99.99%
21580 | 100% | 99.99%
21600 | 100% | 99.99%
21620 | 100% | 99.99%
21640 | 100% | 99.99%
21660 | 100% | 99.99%
21680 | 100% | 99.99%
21700 | 100% | 99.99%
21720 | 100% | 99.99%
21740 | 100% | 99.99%
21760 | 100% | 99.99%
21780 | 100% | 99.99%
21800 | 100% | 99.99%
21820 | 100% | 99.99%
21840 | 100% | 99.99%
21860 | 100% | 99.99%
21880 | 100% | 99.99%
21900 | 100% | 99.99%
21920 | 100% | 99.99%
21940 | 100% | 99.99%
21960 | 100% | 99.99%
21980 | 100% | 99.99%
22000 | 100% | 99.99%
22020 | 100% | 99.99%
22040 | 100% | 99.99%
22060 | 100% | 99.99%
22080 | 100% | 99.99%
22100 | 100% | 99.99%
22120 | 100% | 99.99%
22140 | 100% | 99.99%
22160 | 100% | 99.99%
22180 | 100% | 99.99%
22200 | 100% | 99.99%
22220 | 100% | 99.99%
22240 | 100% | 99.99%
22260 | 100% | 99.99%
22280 | 100% | 99.99%
22300 | 100% | 99.99%
22320 | 100% | 99.99%
22340 | 100% | 99.99%
22360 | 100% | 99.99%
22380 | 100% | 99.99%
22400 | 100% | 99.99%
22420 | 100% | 99.99%
22440 | 100% | 99.99%
22460 | 100% | 99.99%
22480 | 100% | 99.99%
22500 | 100% | 99.99%
22520 | 100% | 99.99%
22540 | 100% | 99.99%
22560 | 100% | 99.99%
22580 | 100% | 99.99%
22600 | 100% | 99.99%
22620 | 100% | 99.99%
22640 | 100% | 99.99%
22660 | 100% | 99.99%
22680 | 100% | 99.99%
22700 | 100% | 99.99%
22720 | 100% | 99.99%
22740 | 100% | 99.99%
22760 | 100% | 99.99%
22780 | 100% | 99.99%
22800 | 100% | 99.99%
22820 | 100% | 99.99%
22840 | 100% | 99.99%
22860 | 100% | 99.99%
22880 | 100% | 99.99%
22900 | 100% | 99.99%
22920 | 100% | 99.99%
22940 | 100% | 99.99%
22960 | 100% | 99.99%
22980 | 100% | 99.99%
23000 | 100% | 99.99%
23020 | 100% | 99.99%
23040 | 100% | 99.99%
23060 | 100% | 99.99%
23080 | 100% | 99.99%
23100 | 100% | 99.99%
23120 | 100% | 99.99%
23140 | 100% | 99.99%
23160 | 100% | 99.99%
23180 | 100% | 99.99%
23200 | 100% | 99.99%
23220 | 100% | 99.99%
23240 | 100% | 99.99%
23260 | 100% | 99.99%
23280 | 100% | 99.99%
23300 | 100% | 99.99%
23320 | 100% | 99.99%
23340 | 100% | 99.99%
23360 | 100% | 99.99%
23380 | 100% | 99.99%
23400 | 100% | 99.99%
23420 | 100% | 99.99%
23440 | 100% | 99.99%
23460 | 100% | 99.99%
23480 | 100% | 99.99%
23500 | 100% | 99.99%
23520 | 100% | 99.99%
23540 | 100% | 99.99%
23560 | 100% | 99.99%
23580 | 100% | 99.99%
23600 | 100% | 99.99%
23620 | 100% | 99.99%
23640 | 100% | 99.99%
23660 | 100% | 99.99%
23680 | 100% | 99.99%
23700 | 100% | 99.99%
23720 | 100% | 99.99%
23740 | 100% | 99.99%
23760 | 100% | 99.99%
23780 | 100% | 99.99%
23800 | 100% | 99.99%
23820 | 100% | 99.99%
23840 | 100% | 99.99%
23860 | 100% | 99.99%
23880 | 100% | 99.99%
23900 | 100% | 99.99%
23920 | 100% | 99.99%
23940 | 100% | 99.99%
23960 | 100% | 99.99%
23980 | 100% | 99.99%
24000 | 100% | 99.99%
24020 | 100% | 99.99%
24040 | 100% | 99.99%
24060 | 100% | 99.99%
24080 | 100% | 99.99%
24100 | 100% | 99.99%
24120 | 100% | 99.99%
24140 | 100% | 99.99%
24160 | 100% | 99.99%
24180 | 100% | 99.99%
24200 | 100% | 99.99%
24220 | 100% | 99.99%
24240 | 100% | 99.99%
24260 | 100% | 99.99%
24280 | 100% | 99.99%
24300 | 100% | 99.99%
24320 | 100% | 99.99%
24340 | 100% | 99.99%
24360 | 100% | 99.99%
24380 | 100% | 99.99%
24400 | 100% | 99.99%
24420 | 100% | 99.99%
24440 | 100% | 99.99%
24460 | 100% | 99.99%
24480 | 100% | 99.99%
24500 | 100% | 99.99%
24520 | 100% | 99.99%
24540 | 100% | 99.99%
24560 | 100% | 99.99%
24580 | 100% | 99.99%
24600 | 100% | 99.99%
24620 | 100% | 99.99%
24640 | 100% | 99.99%
24660 | 100% | 99.99%
24680 | 100% | 99.99%
24700 | 100% | 99.99%
24720 | 100% | 99.99%
24740 | 100% | 99.99%
24760 | 100% | 99.99%
24780 | 100% | 99.99%
24800 | 100% | 99.99%
24820 | 100% | 99.99%
24840 | 100% | 99.99%
24860 | 100% | 99.99%
24880 | 100% | 99.99%
24900 | 100% | 99.99%
24920 | 100% | 99.99%
24940 | 100% | 99.99%
24960 | 100% | 99.99%
24980 | 100% | 99.99%
25000 | 100% | 99.99%
25020 | 100% | 99.99%
25040 | 100% | 99.99%
25060 | 100% | 99.99%
25080 | 100% | 99.99%
25100 | 100% | 99.99%
25120 | 100% | 99.99%
25140 | 100% | 99.99%
25160 | 100% | 99.99%
25180 | 100% | 99.99%
25200 | 100% | 99.99%
25220 | 100% | 99.99%
25240 | 100% | 99.99%
25260 | 100% | 99.99%
25280 | 100% | 99.99%
25300 | 100% | 99.99%
25320 | 100% | 99.99%
25340 | 100% | 99.99%
25360 | 100% | 99.99%
25380 | 100% | 99.99%
25400 | 100% | 99.99%
25420 | 100% | 99.99%
25440 | 100% | 99.99%
25460 | 100% | 99.99%
25480 | 100% | 99.99%
25500 | 100% | 99.99%
25520 | 100% | 99.99%
25540 | 100% | 99.99%
25560 | 100% | 99.99%
25580 | 100% | 99.99%
25600 | 100% | 99.99%
25620 | 100% | 99.99%
25640 | 100% | 99.99%
25660 | 100% | 99.99%
25680 | 100% | 99.99%
25700 | 100% | 99.99%
25720 | 100% | 99.99%
25740 | 100% | 99.99%
25760 | 100% | 99.99%
25780 | 100% | 99.99%
25800 | 100% | 99.99%
25820 | 100% | 99.99%
25840 | 100% | 99.99%
25860 | 100% | 99.99%
25880 | 100% | 99.99%
25900 | 100% | 99.99%
25920 | 100% | 99.99%
25940 | 100% | 99.99%
25960 | 100% | 99.99%
25980 | 100% | 99.99%
26000 | 100% | 99.99%
26020 | 100% | 99.99%
26040 | 100% | 99.99%
26060 | 100% | 99.99%
26080 | 100% | 99.99%
26100 | 100% | 99.99%
26120 | 100% | 99.99%
26140 | 100% | 99.99%
26160 | 100% | 99.99%
26180 | 100% | 99.99%
26200 | 100% | 99.99%
26220 | 100% | 99.99%
26240 | 100% | 99.99%
26260 | 100% | 99.99%
26280 | 100% | 99.99%
26300 | 100% | 99.99%
26320 | 100% | 99.99%
26340 | 100% | 99.99%
26360 | 100% | 99.99%
26380 | 100% | 99.99%
26400 | 100% | 99.99%
26420 | 100% | 99.99%
26440 | 100% | 99.99%
26460 | 100% | 99.99%
26480 | 100% | 99.99%
26500 | 100% | 99.99%
26520 | 100% | 99.99%
26540 | 100% | 99.99%
26560 | 100% | 99.99%
26580 | 100% | 99.99%
26600 | 100% | 99.99%
26620 | 100% | 99.99%
26640 | 100% | 99.99%
26660 | 100% | 99.99%
26680 | 100% | 99.99%
26700 | 100% | 99.99%
26720 | 100% | 99.99%
26740 | 100% | 99.99%
26760 | 100% | 99.99%
26780 | 100% | 99.99%
26800 | 100% | 99.99%
26820 | 100% | 99.99%
26840 | 100% | 99.99%
26860 | 100% | 99.99%
26880 | 100% | 99.99%
26900 | 100% | 99.99%
26920 | 100% | 99.99%
26940 | 100% | 99.99%
26960 | 100% | 99.99%
26980 | 100% | 99.99%
27000 | 100% | 99.99%
27020 | 100% | 99.99%
27040 | 100% | 99.99%
27060 | 100% | 99.99%
27080 | 100% | 99.99%
27100 | 100% | 99.99%
27120 | 100% | 99.99%
27140 | 100% | 99.99%
27160 | 100% | 99.99%
27180 | 100% | 99.99%
27200 | 100% | 99.99%
27220 | 100% | 99.99%
27240 | 100% | 99.99%
27260 | 100% | 99.99%
27280 | 100% | 99.99%
27300 | 100% | 99.99%
27320 | 100% | 99.99%
27340 | 100% | 99.99%
27360 | 100% | 99.99%
27380 | 100% | 99.99%
27400 | 100% | 99.99%
27420 | 100% | 99.99%
27440 | 100% | 99.99%
27460 | 100% | 99.99%
27480 | 100% | 99.99%
27500 | 100% | 99.99%
27520 | 100% | 99.99%
27540 | 100% | 99.99%
27560 | 100% | 99.99%
27580 | 100% | 99.99%
27600 | 100% | 99.99%
27620 | 100% | 99.99%
27640 | 100% | 99.99%
27660 | 100% | 99.99%
27680 | 100% | 99.99%
27700 | 100% | 99.99%
27720 | 100% | 99.99%
27740 | 100% | 99.99%
27760 | 100% | 99.99%
27780 | 100% | 99.99%
27800 | 100% | 99.99%
27820 | 100% | 99.99%
27840 | 100% | 99.99%
27860 | 100% | 99.99%
27880 | 100% | 99.99%
27900 | 100% | 99.99%
27920 | 100% | 99.99%
27940 | 100% | 99.99%
27960 | 100% | 99.99%
27980 | 100% | 99.99%
28000 | 100% | 99.99%
28020 | 100% | 99.99%
28040 | 100% | 99.99%
28060 | 100% | 99.99%
28080 | 100% | 99.99%
28100 | 100% | 99.99%
28120 | 100% | 99.99%
28140 | 100% | 99.99%
28160 | 100% | 99.99%
28180 | 100% | 99.99%
28200 | 100% | 99.99%
28220 | 100% | 99.99%
28240 | 100% | 99.99%
28260 | 100% | 99.99%
28280 | 100% | 99.99%
28300 | 100% | 99.99%
28320 | 100% | 99.99%
28340 | 100% | 99.99%
28360 | 100% | 99.99%
28380 | 100% | 99.99%
28400 | 100% | 99.99%
28420 | 100% | 99.99%
28440 | 100% | 99.99%
28460 | 100% | 99.99%
28480 | 100% | 99.99%
28500 | 100% | 99.99%
28520 | 100% | 99.99%
28540 | 100% | 99.99%
28560 | 100% | 99.99%
28580 | 100% | 99.99%
28600 | 100% | 99.99%
28620 | 100% | 99.99%
28640 | 100% | 99.99%
28660 | 100% | 99.99%
28680 | 100% | 99.99%
28700 | 100% | 99.99%
28720 | 100% | 99.99%
28740 | 100% | 99.99%
28760 | 100% | 99.99%
28780 | 100% | 99.99%
28800 | 100% | 99.99%
28820 | 100% | 99.99%
28840 | 100% | 99.99%
28860 | 100% | 99.99%
28880 | 100% | 99.99%
28900 | 100% | 99.99%
28920 | 100% | 99.99%
28940 | 100% | 99.99%
28960 | 100% | 99.99%
28980 | 100% | 99.99%
29000 | 100% | 99.99%
29020 | 100% | 99.99%
29040 | 100% | 99.99%
29060 | 100% | 99.99%
29080 | 100% | 99.99%
29100 | 100% | 99.99%
29120 | 100% | 99.99%
29140 | 100% | 99.99%
29160 | 100% | 99.99%
29180 | 100% | 99.99%
29200 | 100% | 99.99%
29220 | 100% | 99.99%
29240 | 100% | 99.99%
29260 | 100% | 99.99%
29280 | 100% | 99.99%
29300 | 100% | 99.99%
29320 | 100% | 99.99%
29340 | 100% | 99.99%
29360 | 100% | 99.99%
29380 | 100% | 99.99%
29400 | 100% | 99.99%
29420 | 100% | 99.99%
29440 | 100% | 99.99%
29460 | 100% | 99.99%
29480 | 100% | 99.99%
29500 | 100% | 99.99%
29520 | 100% | 99.99%
29540 | 100% | 99.99%
29560 | 100% | 99.99%
29580 | 100% | 99.99%
29600 | 100% | 99.99%
29620 | 100% | 99.99%
29640 | 100% | 99.99%
29660 | 100% | 99.99%
29680 | 100% | 99.99%
29700 | 100% | 99.99%
29720 | 100% | 99.99%
29740 | 100% | 99.99%
29760 | 100% | 99.99%
29780 | 100% | 99.99%
29800 | 100% | 99.99%
29820 | 100% | 99.99%
29840 | 100% | 99.99%
29860 | 100% | 99.99%
29880 | 100% | 99.99%
29900 | 100% | 99.99%
29920 | 100% | 99.99%
29940 | 100% | 99.99%
29960 | 100% | 99.99%
29980 | 100% | 99.99%
30000 | 100% | 99.99%

## WP Table 4
Expected Contribution of GIAB Specimens to a Validation Study
Test size Kb | Variants in all GIAB specimens available for study | aPPV CI Lower Bound from GIAB specimens alone*
3.5 | 22.05 | 87.3%
10 | 63 | 95.36%
50 | 315 | 99.05%
200 | 1260 | 99.76%
3000 | 18900 | 99.98%
30000 | 189000 | 100%
Assumption | 0.5 | variants per Kb
and | 90% | of targeted bases are in GIAB benchmark regions
Using | 7 | GIAB Specimens | 7
Sequenced | 2 | times each in the study (more than 2 is not recommended)
*This calculation assumes an observed aPPV of 100% is achieved
Adding off-target variants would expand the effective test size and thus increase the aPPV bounds that can be demonstrated. See text.
Copyright © 2023. The Association for Molecular Pathology. All rights reserved.

## WP Table 5
Example Validation Studies
Test | Reportable Target Size (in Kb) | Expected TP Variants per pt (1) | Number of Variants in Study | Observed aPPV (point estimate) (2) | aPPV CI Lower bound (2) | Expected FPs per pt at aPPV bound (1) | %FPs potentially Reportable (FPrep) (3) | Expected Reportable FPs per pt | Test Type | Expected true reportable variants per patient (PTPR) (3,4) | cPPV Lower Bound (5)
CFTR (6) | 3.5 | 1.75 | 65 | 100% | 95.5% | 0.082542 | 50% | 0.041271 | Diagnostic | 0.25 | 85.83%
BRCA1/2 (6) | 10 | 5 | 300 | 100% | 99.01% | 0.050179 | 50% | 0.025089 | Diagnostic | 0.15 | 85.67%
" | 10 | 5 | 900 | 100% | 99.67% | 0.016671 | 10% | 0.0016671 | Screening | 0.01 | 85.71%
40 gene panel | 50 | 25 | 450 | 100% | 99.34% | 0.16698 | 50% | 0.083492 | Diagnostic | 0.5 | 85.69%
" | 50 | 25 | 2200 | 100% | 99.86% | 0.034066 | 10% | 0.0034066 | Screening | 0.02 | 85.45%
200 gene panel or phenotype driven exome slice | 200 | 100 | 2200 | 100% | 99.86% | 0.13626 | 50% | 0.068131 | Diagnostic | 0.4 | 85.45%
“Medical exome” slice of ~3000 genes. | 3000 | 1500 | 2600 | 100% | 99.88% | 1.7293 | 10% | 0.17293 | Screening | 1 | 85.26%
Note
1 | Variants of all interpretations (including benign) should be included in this colum.
2 | Assuming zero unflagged FPs were observed in study. cPPV lower bound calculated using the tolerance interval method
3 | For diagnostic tests, both the %FPs that are potentially reportable and PTPR may include VUS; for screening tests only pathogenic or likely pathogenic are included (see text)
4 | For low values, the expected patient true positive rate (PTPR) is roughly the same as the number of variants expected per patient. We use this approximation here.
5 | cPPV is calculated here based on reports with unflagged variants only. If the rate of flagged veriants is low(<~10-20%) the difference will be modest.
For simplicity, the cPPV lower bound is estimated from the aPPV lower bound here.
6 | BRCA1, BRCA2, and CFTR are all relatively large genes. The average human gene has approx. 1 kb of coding sequence (median 1.2 kb)
Assumption | 0.5 | true positive variants per Kb
Copyright © 2023. The Association for Molecular Pathology. All rights reserved.